## Slide 1: R&S S2P Extractor
Perform two specific calibrations to characterize devices without connectors
  Probe tips
  Test fixtures

## Slide 2: R&S S2P Extractor
Two calibrations:
  Outer calibration
  Inner calibration (with probe/fixture)

## Slide 3: R&S S2P Extractor
Outer calibration is generally UOSM or TOSM to cables
Inner calibration is more complicated (TRL)
Outer Calibration
Inner Calibration

## Slide 4: R&S S2P Extractor
Choose outer and inner calibrations
Choose ports to extract
Save .s2p files
Probe 1.s2p
Probe 2.s2p